## Summary Statistics
Summary Statistic | Result | Tracer Recovery
Count | 4 | 4
Mean | 0.070623 | 78.3509
Standard Deviation | 0.033922 | 4.1789
2σ Upper Limit | 0.13711 | 86.5415
3σ Upper Limit | 0.15814 | 89.1324
2σ Lower Limit | 0.0041369 | 70.1602
3σ Lower Limit | -0.016894 | 67.5693

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AlphaBatchID | Detector | AnalysisDateTime | SampleDate | SampleAliquot | ActivityUnits | MassUnits | TracerAliquotGrams | FileName | PercentAbundance | MDAConfidenceFactor | MDALLDConstant | EnergyCalibrationDateTime | EfficiencyCalibrationDateTime | BackgroundFile | TracerRecovery | AlphaChamber | ChamberEfficiency | AcquisitionDateTime | ElapsedLiveTime | TracerFWHM | NetArea | BackgroundArea | Activity | Uncertainty | MDC | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit | TracerRecoveryMean | TracerRecovery2SigmaUpper | TracerRecovery2SigmaLower | TracerRecovery3SigmaUpper | TracerRecovery3SigmaLower | TracerRecoveryUpperLimit | TracerRecoveryLowerLimit
24LL0001 | 24LLB0005 | ISOU | 24LC14-FSS-30-T523-0909-009 | Soil | REG | U-235 | YU02 | DET 1 | 2024-10-03 13:29 | 2024-09-09 12:00 | 0.402 | pCi | grams | 0.2675 | U232-LRS038 | 100 | 3.29 | 3 | 2023-12-26 11:35 | 2023-12-26 11:35 | C:\Canberra\ApexAlpha\Root\Data\0000025018.Cnf | 75.7454 | A_1_1A | 19.3848 | 2024-10-01 13:22 | 14400 | 18.9654 | 2.8333 | 0.16667 | 0.11136 | 0.13748 | 0.17494 | 1 | TRUE | 0.070623 | 0.13711 | 0.0044761 | 0.15814 | -0.016894 | 0 | 0 | 78.3509 | 86.5415 | 70.202 | 89.1324 | 67.5693 | 30 | 110
24LL0001 | 24LLB0005 | ISOU | 24LC14-FSS-30-T523-0909-010 | Soil | REG | U-235 | YU02 | DET 3 | 2024-10-03 13:29 | 2024-09-09 12:00 | 0.409 | pCi | grams | 0.2675 | U232-LRS038 | 100 | 3.29 | 3 | 2023-12-26 11:36 | 2023-12-26 11:36 | C:\Canberra\ApexAlpha\Root\Data\0000025020.Cnf | 82.5998 | A_1_2A | 19.9416 | 2024-10-01 13:22 | 14400 | 9.4806 | 0.83333 | 0.16667 | 0.028698 | 0.069907 | 0.15327 | 1 | TRUE | 0.070623 | 0.13711 | 0.0044761 | 0.15814 | -0.016894 | 0 | 0 | 78.3509 | 86.5415 | 70.202 | 89.1324 | 67.5693 | 30 | 110
24LL0001 | 24LLB0005 | ISOU | 24LC14-FSS-30-T523-0909-010D | Soil | REG | U-235 | YU02 | DET 5 | 2024-10-03 13:29 | 2024-09-09 12:00 | 0.4293 | pCi | grams | 0.2666 | U232-LRS038 | 100 | 3.29 | 3 | 2023-12-26 11:38 | 2023-12-26 11:38 | C:\Canberra\ApexAlpha\Root\Data\0000025010.Cnf | 81.1483 | A_1_3A | 19.8486 | 2024-10-01 13:22 | 14400 | 4.7126 | 2 | 0 | 0.067104 | 0.1165 | 0.21104 | 1 | TRUE | 0.070623 | 0.13711 | 0.0044761 | 0.15814 | -0.016894 | 0 | 0 | 78.3509 | 86.5415 | 70.202 | 89.1324 | 67.5693 | 30 | 110
24LL0001 | 24LLB0005 | ISOU | 24LC14-FSS-30-T523-0909-011 | Soil | REG | U-235 | YU02 | DET 6 | 2024-10-03 13:29 | 2024-09-09 12:00 | 0.4101 | pCi | grams | 0.2663 | U232-LRS038 | 100 | 3.29 | 3 | 2023-12-26 11:38 | 2023-12-26 11:38 | C:\Canberra\ApexAlpha\Root\Data\0000025011.Cnf | 73.9099 | A_1_3B | 20.3219 | 2024-10-01 13:22 | 14400 | 31.2139 | 2 | 0 | 0.075329 | 0.1308 | 0.23691 | 1 | TRUE | 0.070623 | 0.13711 | 0.0044761 | 0.15814 | -0.016894 | 0 | 0 | 78.3509 | 86.5415 | 70.202 | 89.1324 | 67.5693 | 30 | 110