## Template
Principle Radionuclide: |  |  |  |  | Half-Life (days):
Th-229 |  |  |  |  | 2.90E+06
Calibration Certificate Information
Radionuclide: |  |  |  | Source Volume (mL): |  | 500
Source ID (SRS): |  | 120903 |  | Source Activity Date: |  | 2021-11-24
Source Activity (dpm): |  | 44184.0 |  | Solution Prep Date: |  | 2021-12-14
Laboratory Operations
Initial Weight (g): |  | 0.0 |  | Dilution Solution Used:
Final Weight (g): |  | 0.0 |  | No dilution
Mass of Solution (g): |  | 507.55
Calculations
|  | Activity = |  |  | dpm/g
No Decay Correction
Decay Correction: |  | 0 |  | To Activity Date: |  | 2021-11-24
Final Activity: |  | 87.05 |  | Expiration Date: |  | 2024-12-14
Uncertainty: |  | 3.2% or 2.79
| Calculated By: |  | matwater | Date | 2022-02-25
| Approved By: |  | bwilson | Date | 2022-02-25