## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0.0052611
Standard Deviation | 0.0033603
2σ Upper Limit | 0.011847
3σ Upper Limit | 0.013931
2σ Lower Limit | -0.0013252
3σ Lower Limit | -0.0034086

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | beryllium | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.0161 | 5 | 14891.57 | 14357.77 | 13790.44 | 16059.4 | 15058.33 | 15191.92 | 5.8 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | beryllium | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.0063 | 5.4 | 5714.72 | 5751.44 | 5334.62 | 6034.85 | 5651.37 | 5801.34 | 4.5 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | beryllium | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.0123 | 5.3 | 11558.48 | 11455.21 | 12322.32 | 11555.21 | 11888.75 | 10570.89 | 5.6 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | beryllium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Be | 9 | 6 | 0.004 | 4.3 | 3810.7 | 3567.25 | 3583.95 | 3967.43 | 3934.09 | 4000.77 | 5.7 | ug/sample | 1 | TRUE | 0.0052611 | 0.011847 | -0.0012916 | 0.013931 | -0.0034086 | 0 | 0