## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0
Standard Deviation | 0
2σ Upper Limit | 0
3σ Upper Limit | 0
2σ Lower Limit | 0
3σ Lower Limit | 0

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | bismuth | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4129490.72 | 4233873.79 | 4076098.53 | 4022660.77 | 4051121.31 | 4263699.18 | 2.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | bismuth | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 3990673.14 | 4002888.76 | 3970460.9 | 4063609.86 | 3938242.54 | 3978163.63 | 1.2 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | bismuth | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4237861.45 | 4179889.42 | 4057859.47 | 4104664.81 | 4395006.61 | 4451886.95 | 4.2 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | bismuth | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Bi | 209 | 0 | 0 | 0 | 4114559.03 | 4084788.24 | 4136841.11 | 4153464.16 | 4102439.94 | 4095261.68 | 0.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0