## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0.011761
Standard Deviation | 0.011591
2σ Upper Limit | 0.034479
3σ Upper Limit | 0.041666
2σ Lower Limit | -0.010957
3σ Lower Limit | -0.018143

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | lead | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0481 | 1.4 | 200928.24 | 202506.62 | 203050.83 | 196521.99 | 199886.06 | 202675.72 | 1.4 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | lead | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0376 | 0.7 | 157159.37 | 157243.66 | 158094.42 | 158229.03 | 156611.11 | 155618.63 | 0.7 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | lead | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.015 | 1.5 | 63397.04 | 64348.42 | 63847.69 | 63598.5 | 63263.37 | 61927.21 | 1.4 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | lead | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Pb | 208 | 0 | 0.0074 | 5.3 | 31810.3 | 31266 | 33135.08 | 33368.87 | 31966.83 | 29314.72 | 5.1 | ug/sample | 1 | TRUE | 0.011761 | 0.034479 | -0.010841 | 0.041666 | -0.018143 | 0 | 0