## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0
Standard Deviation | 0
2σ Upper Limit | 0
3σ Upper Limit | 0
2σ Lower Limit | 0
3σ Lower Limit | 0

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | lithium | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3512491.38 | 3492400.49 | 3441768.99 | 3556968.43 | 3615933.01 | 3455386 | 2.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | lithium | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3444778.53 | 3421457.04 | 3441575.39 | 3398600.16 | 3546535.6 | 3415724.48 | 1.7 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | lithium | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579751.09 | 3550509.2 | 3668024.38 | 3573711.84 | 3524600.67 | 3581909.34 | 1.5 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | lithium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Li | 6 | 0 | 0 | 0 | 3579468.65 | 3454754.5 | 3566846.1 | 3649784.08 | 3655420.6 | 3570537.98 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0