## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0
Standard Deviation | 0
2σ Upper Limit | 0
3σ Upper Limit | 0
2σ Lower Limit | 0
3σ Lower Limit | 0

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | scandium | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13257404.88 | 13457170.76 | 12938925.66 | 13348198.04 | 13605042.69 | 12937687.23 | 2.3 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | scandium | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13147084.69 | 13001421.28 | 13282749.16 | 12820346.77 | 13397715.37 | 13233190.85 | 1.8 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | scandium | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13211284.07 | 13225570.1 | 13265676.77 | 13344345.44 | 13339928.21 | 12880899.82 | 1.4 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | scandium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Sc | 45 | 0 | 0 | 0 | 13226672.52 | 13185815.04 | 13014795.27 | 13339971.69 | 13243133.92 | 13349646.68 | 1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0