## Summary Statistics
Summary Statistic | Result
Count | 18
Mean | 0
Standard Deviation | 0
2σ Upper Limit | 0
3σ Upper Limit | 0
2σ Lower Limit | 0
3σ Lower Limit | 0

## Data
SDG | BatchID | Method | SampleID | Matrix | ResultType | Analyte | AnalysisDateTime | DilutionFactor | Notes | FileName | CalibrationBatchID | FilePath | Analyst | InstrumentName | SampleWeightVolume | FinalWeightVolume | DilutionMultiplier | ElementSymbol | Mass | ISTDRefMass | Concentration | ConcentrationRSD | CPSMean | CPSRep1 | CPSRep2 | CPSRep3 | CPSRep4 | CPSRep5 | CPSRSD | Units | Iteration | Reporting | ResultMean | Result2SigmaUpper | Result2SigmaLower | Result3SigmaUpper | Result3SigmaLower | ResultAbsoluteUpperLimit | ResultAbsoluteLowerLimit
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-012 | Soil | REG | terbium | 2024-10-03 16:33 | 0.3 |  | 048SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5185463.5 | 5229613.01 | 5225333.06 | 5037745.16 | 5157387.88 | 5277238.4 | 1.8 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-013 | Soil | REG | terbium | 2024-10-03 16:34 | 0.3 |  | 049SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5112155.61 | 5174657.8 | 5152104.28 | 5177537.09 | 5026591.78 | 5029887.09 | 1.5 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-016 | Soil | REG | terbium | 2024-10-03 16:35 | 0.3 |  | 050SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5261661.16 | 5132694.39 | 5115688.92 | 5096297.9 | 5441117.05 | 5522507.55 | 3.9 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-017 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0001 | 24LLB0005 | Metals | 23LC14-FSS-30-T117-0908-018 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-001 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-002 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-003 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-004 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-005 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-006D | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-007 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-008 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-009 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-010 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-011 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0
24LL0002 | 24LLB0005 | Metals | 23LC14-FSS-10-RB03-0403-B01 | Soil | REG | terbium | 2024-10-03 16:36 | 0.3 |  | 051SMPL.d | ICPMS2_ISIS_241003_AF.b | D:\Agilent\ICPMH\1\DATA | RScheanwald | ICP-MS | 1 | 1 | 0.3 | Tb | 159 | 0 | 0 | 0 | 5132736.24 | 5060507.8 | 5120499.2 | 5199976.94 | 5184543.48 | 5098153.76 | 1.1 |  | 1 | TRUE | 0 | 0 | 0 | 0 | 0 | 0 | 0